The optimization of the amount of tween-20 addition

The optimization of the amount of tween-20 addition was performed by changing the amount of tween-20 (5, 10, 15, 20, or 40 (l) in sample solution. 80 (l sample solution (the concentration of PEDV was 40 (g/ml) was added to the test strip and photos were taken after reaction for 15 min.

Results

Fig. S7 Optimization of the amount of tween-20 addition. Each point was photographed with two copies.