## Suppl. Table 1
[8 empty] | Multiplex PCR-based NGS | [9 empty] | Targeted capture-based NGS
ID | Sample group | Material | DNA concentration | DNA quality 260/280, 260/230 | Average Target Cov. | delta Ct | Target Specifity | Low-cov. nucleotides 1 | Zero-cov. bases | Variants | Artifacts | VUS | Polym. | False-positive | Pathogenic | DNA concentration | DNA quality 260/280, 260/230 | Average Target Cov. | Target Specifity | Low-cov. nucleotides 2 | Zero-cov. bases | Variants | Artifacts | VUS | Polym. | False-positive | Pathogenic
K01 | Control | Blood | 291 ng/µl | 1.91, 2.46 | 6,666/7,597 | n.d. | 100%/100% | 5.519 | 0 | 7 | 0 | 0 | 4 | 3 | 0 | 291 ng/µl | 1.91, 2.46 | 776 | 65% | 0 | 0 | 5 | 0 | 0 | 5 | 0 | 0
K02 |  |  | 412 ng/µl | 1.90, 2.39 | 7,471/7,970 | n.d. | 100%/100% | 5.412 | 142 | 8 | 0 | 0 | 5 | 3 | 0 | 412 ng/µl | 1.90, 2.39 | 880 | 62% | 0 | 0 | 6 | 0 | 0 | 6 | 0 | 0
K03 |  |  | 357 ng/µl | 1.97, 2.26 | 8,717/8,985 | n.d. | 100%/100% | 4.808 | 0 | 8 | 0 | 0 | 5 | 3 | 0 | 357 ng/µl | 1.97, 2.26 | 732 | 66% | 0 | 0 | 6 | 0 | 0 | 6 | 0 | 0
K04 |  |  | 214 ng/µl | 1.88, 2.40 | 12,534/11,370 | n.d. | 100%/100% | 3.318 | 0 | 8 | 0 | 0 | 5 | 3 | 0 | 214 ng/µl | 1.88, 2.40 | 633 | 67% | 0 | 0 | 6 | 0 | 0 | 6 | 0 | 0
K05 |  |  | 466 ng/µl | 1.91, 2.31 | 9,025/9,840 | n.d. | 100%/100% | 7.671 | 0 | 9 | 0 | 0 | 6 | 3 | 0 | 466 ng/µl | 1.91, 2.31 | 902 | 65% | 0 | 0 | 7 | 0 | 0 | 7 | 0 | 0
P01 | Routine diagnostic | FFPE tissue | 161 ng/µl | 1.88, 2.17 | 9,917/12,717 | 1.3 | 100%/100% | 820 | 0 | 7 | 4 | 0 | 5 | 3 | 1 | 60 ng/µl | 1.88, 2.17 | 243 | 68% | 0 | 0 | 6 | 0 | 0 | 5 | 0 | 1
P02 |  |  | 245 ng/µl | 1.87, 2.25 | 12,212/15,266 | 0.9 | 100%/100% | 544 | 0 | 8 | 3 | 0 | 7 | 3 | 1 | 90 ng/µl | 1.87, 2.25 | 294 | 69% | 0 | 0 | 8 | 0 | 0 | 7 | 0 | 1
P03 |  |  | 83 ng/µl | 1.89, 2.43 | 14,277/13,082 | 1.6 | 100%/100% | 464 | 0 | 6 | 3 | 0 | 5 | 3 | 1 | 26 ng/µl | 1.89, 2.43 | 353 | 68% | 0 | 0 | 6 | 0 | 0 | 5 | 0 | 1
P04 |  |  | 232 ng/µl | 1.86, 2.37 | 11,772/11,901 | 0.8 | 100%/100% | 1.907 | 0 | 8 | 4 | 0 | 6 | 3 | 1 | 108 ng/µl | 1.86, 2.37 | 324 | 70% | 0 | 0 | 8 | 0 | 0 | 6 | 0 | 1
P05 |  |  | 50 ng/µl | 1.90, 2.50 | 5,101/7,136 | 2.4 | 100%/100% | 21,041 | 1.179 | 18 | 15 | 1 | 6 | 3 | (0) | 23 ng/µl | 1.90, 2.50 | 348 | 70% | 0 | 0 | 7 | 0 | 0 | 6 | 0 | 1
P06 |  |  | 28 ng/µl | 1.81, 1.81 | 5,306/5,293 | 3.2 | 100%/100% | 1,648 | 119 | 7 | 3 | 0 | 6 | 3 | 1 | 13 ng/µl | 1.81, 1.81 | 526 | 69% | 0 | 0 | 7 | 0 | 0 | 6 | 0 | 1
P07 |  |  | 518 ng/µl | 2.05, n.d. | 10,648/9,157 | 1.9 | 100%/100% | 544 | 0 | 14 | 8 | 0 | 8 | 3 | 1 | 16 ng/µl | 2.05, n.d. | 383 | 71% | 0 | 0 | 9 | 0 | 0 | 8 | 0 | 1
P08 |  |  | 116 ng/µl | n.d. | 19,658/18,268 | -0.9 | 99%/99% | 0 | 0 | 5 | 0 | 0 | 1 | 3 | 1 | 363 ng /µl | n.d. | 519 | 65% | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 1
P09 |  |  | 116 ng/µl | n.d. | 16,413/17,062 | 0.6 | 100%/99% | 0 | 0 | 4 | 0 | 0 | 1 | 3 | 0 | 152 ng/µl | n.d. | 1.607 | 62% | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0
P10 |  |  | 102 ng/µl | 1.88, 2.12 | 3,952/11,263 | 2.7 | 100%/100% | 23,289 | 3.454 | 27 | 23 | 0 | 2 | 2 | (0) | 179 ng/µl | 1.88, 2.12 | 1.226 | 63% | 0 | 0 | 5 | 0 | 0 | 4 | 0 | 1
P11 |  |  | 146 ng/µl | 1.91, 2.41 | 15,831/14,664 | -0.7 | 100%/100% | 1,303 | 0 | 11 | 1 | 0 | 6 | 3 | 1 | 244 ng/µl | 1.91, 2.41 | 2.668 | 60% | 0 | 0 | 7 | 0 | 0 | 6 | 0 | 1
P12 |  |  | 1,438 ng/µl | 1.98, n.d. | 6,199/9,860 | -0.2 | 100%/100% | 1,497 | 0 | 14 | 5 | 3 | 2 | 3 | 1 | 137 ng/µl | 1.98, n.d. | 1.349 | 62% | 0 | 0 | 3 | 0 | 0 | 2 | 0 | 1
P13 |  |  | 1,303 ng/µl | 1.98, n.d. | 9,244/12,432 | -0.8 | 100%/100% | 2,885 | 0 | 13 | 4 | 0 | 5 | 3 | 1 | 252 ng/µl | 1.98, n.d. | 1.45 | 62% | 0 | 0 | 8 | 0 | 1 | 6 | 0 | 1
P14 | Test-DNA of very low quality | FFPE tissue | 489 ng/µl | 1.82, 2.11 | 463/1029 | 5.3 | 98%/99% | 36.466 | 1.052 | 15 | 11 | 2 | 2 | 0 | 0 | 489 ng/µl | 1.82, 2.11 | 566 | 72% | 4 | 0 | 5 | 0 | 2 | 3 | 0 | 0
P14 |  |  | 489 ng/µl | 1.89, 2.18 | 2,392/557 | 5.3 | 97%/89% | 26.963 | 3.372 | 34 | 28 | 4 | 2 | 0 | 0 | 489 ng/µl | 1.89, 2.18 | 501 | 72% | 31 | 0 | 18 | 2 | 12 | 1 | 0 | 3
P15 |  |  | 1,164 ng/µl | 1.84, 2.27 | 5,642/5,025 | > 4.0 | 100%/100% | 2.644 | 0 | 5 | 0 | 0 | 3 | 2 | 0 | 1,164 ng/µl | 1.84, 2.27 | 454 | 69% | 5.549 | 5 | 5 | 2 | 1 | 3 | 0 | 1
P16 | CNVs | Blood |  | not performed | [11 empty] | 243 ng/µl | 1.80, 2.40 | 381 | 68% | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0
P17 | [15 empty] | ? | ? | 140 | 65% | 356 | 0 | 7 | 0 | 0 | 7 | 0 | 0
P18 | [15 empty] | 97 ng/µl | 1.96, 2.17 | 209 | 65% | 42 | 0 | 3 | 0 | 0 | 3 | 0 | 0
P19 | [15 empty] | 133 ng/µl | 1.90, 2.26 | 245 | 69% | 7 | 0 | 4 | 0 | 0 | 4 | 0 | 0
P20 | [15 empty] | 292 ng/µl | 1.90, 2.40 | 490 | 67% | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0
P21 | [15 empty] | 206 ng/µl | 1.90, 2.40 | 467 | 66% | 0 | 0 | 6 | 0 | 0 | 6 | 0 | 0
P22 | [15 empty] | 51 ng/µl | 1.81, 3.01 | 396 | 68% | 0 | 0 | 3 | 0 | 1 | 2 | 0 | 0
P16 | CNVs | FFPE tissue | 127 ng/µl | 2.06, 0.54 | 6,707/5,999 | n.d. | 99%/100% | 227 | 0 | 42 | 36 | 1 | 5 | 0 | 0 | 127 ng/µl | 2.06, 0.54 | 488 | 73% | 0 | 0 | 5 | 0 | 0 | 5 | 0 | 0
P17 |  |  | 498 ng/µl | 1.97, 2.22 | 7,285/6,980 | n.d. | 100%/100% | 9.945 | 138 | 85 | 80 | 1 | 5 | 0 | 0 | 498 ng/µl | 1.97, 2.22 | 336 | 71% | 5.629 | 58 | 4 | 0 | 3 | 1 | 0 | 0
P18 |  |  | 259 ng/µl | 1.98, 0.91 | 7,960/9,521 | n.d. | 100%/100% | 2.387 | 0 | 18 | 15 | 0 | 3 | 0 | 0 | 259 ng/µl | 1.98, 0.91 | 504 | 72% | 176 | 0 | 3 | 0 | 0 | 3 | 0 | 0
P19 |  |  | 76 ng/µl | 2.06, 0.37 | 9,131/10,077 | n.d. | 99%/100% | 979 | 0 | 11 | 8 | 0 | 3 | 0 | 0 | 76 ng/µl | 2.06, 0.37 | 923 | 72% | 0 | 0 | 4 | 0 | 0 | 4 | 0 | 0
P20 |  |  | 21 ng/µl | 1.95, 2.63 | 4,439/2,242 | n.d. | 99%/100% | 2.857 | 259 | 117 | 113 | 1 | 3 | 0 | 0 | 21 ng/µl | 1.95, 2.63 | 248 | 75% | 20 | 0 | 4 | 0 | 1 | 3 | 0 | 0
P23 | Index patient testing | FFPE tissue |  | not performed | [11 empty] | 933 ng/µl | ? | 690 | 69% | 0 | 0 | 6 | 0 | 1 | 5 | 0 | 0
P24 | [15 empty] | ? | ? | 220 | 71% | 23 | 0 | 18 | 1 | 7 | 9 | 0 | 1
P25 | [15 empty] | ? | ? | 180 | 71% | 96 | 0 | 20 | 0 | 10 | 6 | 0 | 4
P26 | [15 empty] | 107 ng/µl | 2.12, n.d. | 664 | 71% | 0 | 0 | 7 | 0 | 0 | 6 | 0 | 1
P27* | [15 empty] | 85 ng/µl | ? | 160 | 71% | 0 | 0 | 10 | 0 | 0 | 9 | 0 | 1
P28 | [15 empty] | ? | ? | 248 | 70% | 30 | 0 | 10 | 0 | 2 | 6 | 0 | 2
P29 | [15 empty] | ? | ? | 169 | 69% | 0 | 0 | 6 | 0 | 0 | 5 | 0 | 1
P30 | [15 empty] | ? | ? | 336 | 66% | 5 | 0 | 7 | 0 | 1 | 6 | 0 | 0
P31 | [15 empty] | 110 ng/µl | 1.80, 1.40 | 135 | 70% | 7 | 0 | 3 | 0 | 1 | 2 | 0 | 0
P32 | [15 empty] | 190 ng/µl | 1.90, 1.70 | 669 | 69% | 0 | 0 | 5 | 0 | 0 | 5 | 0 | 0
P33 | [15 empty] | ? | ? | 845 | 70% | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0
A nucleotide is designated as low covered target when < 500 (1) reads for Multiplex PCR-based NGS and < 30 (2) reads for Targeted capture-based NGS cover the corresponding nucleotide
* indicates tumor-free FFPE tissue